## Sheet1
Item | In folder | In file
BSD 3 licence On all materials |  | https://github.com/slaclab/pabv_control/blob/master/LICENSE.txt And https://www.osti.gov/doecode/biblio/52411
list of IP for ASV | x | list of IP for ASV
Instruction Manual PDF | x | 200914 ASV manual
manuscript acute shortage ventilator | x | 200812 preprint acute shortage ventilator
Visual setup guide | x | Ventilator Setup HowTo_V01
folder frame and pneumatics
Mechanical Parts BOM | x | Mechanical parts BOM
Frame drawings | x | VentilatorFrame
folder electronics
Main Board Parts BOM | x | PCB NanoV03 BOM
Main Board PCB documentation | x | NanoShield_V03, NanoShield_V03_pcb, NanoShield_V03_breakouts
Sensor Board BOM | x | PCB NanoV03 BOM
Sensor Board PCB documentation | x | sensor_board
Cables BOM | x | PCB NanoV03 BOM
folder 3-D printed parts
Main Electronics Box Solid Model (4 parts) | x | ShieldEnclosure_Lid, ShieldEnclosure_Lower, ShieldEnclosure_Mid, ShieldEnclosure_Upper
Sensor Box Solid Model (2 parts) | x | SensorBoard2_LowerBox, SensorBoard2_Lid
PIP Tee Clip Solid Model (1 part) | x | THolder
PEEP to PIP converter Solid Model (1 part) | x | PEEP to PIP converter 26mm
folder software
GUI Code | x | SLAC_ASV_Client_Installer_v1.2.0-116-g64800ce-200914
GUI Source Code | x | all code is found in: pabv_control, but we highly recommend to fork our getup repository at: https://github.com/slaclab/pabv_control and work from there which includes how to compile the code. This includes the graphical interface, the Arduino and display source code.The dependencies we use from external sources are included in the repository, read the README file.
Master Arduino Code | x
Master Arduino Source Code | x
Display Arduino Code | x
Display Arduino Source Code | x
Arduino Development Environment (IDE) |  | https://www.arduino.cc/en/main/software
Anaconda python environment |  | https://www.anaconda.com/
folder documentation
Instruction Manual Source | x | ASV manual source code
PowerPoint with assembly instructions |  | Ventilator Setup HowTo_V01
extensive frame description | x | frame construction details
folder patient circuit
Patient circuit BOM | x | Patient circuit BOM
folder media materials
photos of ventilator | x | photo credits: Alberto Gamazo/SLAC National Accelerator Laboratory.
press release | x | https://www6.slac.stanford.edu/news/2020-08-13-slac-scientists-invent-low-cost-emergency-ventilator-and-share-design-free.aspx